8/2/2012        CFA00135        King of Prussia Plaza   Bob Robins      11/20/1980      610/265-5716    160 North Gulph Road    King Of Prussia PA      19406   T1, IM600       CUBER   YES

**Survey Response for:** CFA WF Pre - Survey

**Response Time Stamp:** 7/7/2012 12:59:03 PM

**1. Survey Date**

07/07/2012

**2. Unit Name:**

King of prussia plaza

**3. Unit #**

00135

**4. Surveyor Name**

Jeff Coke

**5. What is the water pressure in this unit?**

57 psi

**6. Is there a pump in this unit? - Please select answer from list below.**

No - Not existing and not needed

**7. What type of pump is installed at this unit?**

Na

**8. Where is the main shut off located?**

Na

**9. Did you take a photo of the shut off location?**

No

**10. Where is the current water filtration system located?**

Above shelf at coffee tea

**11. Did you take a photo of the current water filtration system?**

Yes

**12. Does this unit currently have a water softener?**

No

**13. If existing water softener - did you take a photo?**

NA - No softener installed at this unit

**14. Current Ice Machine Installed:**

Cuber

**15. Will we have to remove a shelf in order to install a new system?**

No

**16. Will there be any special equipment needed for tea lines?**

New hose

**17. Will there be any special equipment needed for the coffee lines?**

New hose

**18. Will we need to install a SWF?**

Yes

**19. Are there high ceilings? Please answer yes or no. (describe height if they are high)**

Yes

**20. What is the size and type of piping we are tapping into?**

3/4" copper

**21. If this is a mall, are there doors from the unit leading directly to the outside?**

No

**22. Please list the type of equipment to order and install in this unit.**

Seleto IM600 (500231, 3SEL044)

Selecto T-1 New Gen Filtration System (500191, 3SEL035)

**23. Please state recommended location for new water filtration system.**

T1 in place of ever pure quad

**24. Please list any other challenges with new install.**

None