|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **1. Install Date** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 09/09/2012 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **2. Installer Name** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Jeff Coke |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **3. What type of Service is rendered at this location?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Retrofit - T1 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **4. Unit #** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 00424 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **5. Unit Name:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Morgantown |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **6. City** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Morgantown |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **7. State** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Wv |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **8. Water Type** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Type 1 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **9. What is the TDS for this location - Prior to Filtration system.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 173 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **10. What is the Hardness for this location, prior to filtration?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 7 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **11. Has filtration system been compromised by a remodel?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | No |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **12. Please list how the water filtration system has been compromised.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | N/a |  |  | | | |
| |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **13. New Equipment installed during this visit:** | |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Selecto T-1 New Generation Filtration System |  |  | |  | Selecto SMF IM600 |  |  | | | |
| |  |  |  |  | | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **14. Please list all equipment already installed at this unit:** | | | |
| |  |  |  |  | | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **15. Please list all equipment already installed at this unit:** | | | |
| |  |  |  |  | | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **16. Please list all equipment already installed at this unit:** | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **17. If a Goulds Pump 1A or 2A is installed, please state the condition of the pump.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | N/a |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **18. Current Ice Machine Installed:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Cuber |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **19. Current Ice Machine Served by What Filter?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | I M 600 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **20. Current Pipe Size and Material serving Ice Machine Stops?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 3/4 cpvc |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **21. Current Pipe Size and Material serving Ice Machines:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 1/2 uv bev tube |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **22. Tea Brewer Served by what filter(s):** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | T1 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **23. Current Pipe Size and Material serving tea brewer** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 1/2 cpvc |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **24. Carbonators Served by what filter(s):** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | T1 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **25. Current Pipe Size and Material serving carbonator water stops:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 3/4 cpvc |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **26. Type & Size of Back flow preventer serving Carbonator water stops:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 3/4 watts MD7 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **27. Tubing Size, Braided, UV Protected, Other serving carbonators:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 3/8 uv bev tube |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **28. SWF served by what filter:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | T1 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **29. Current Pipe Size and Material serving SWF:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 1/2 cpvc |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **30. List irregularities in fittings, galvanized parts, pex, Non-spec filters, etc.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | N/a |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **31. Other observations** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | N/a |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **32. What Strategy might be used by the plumber of record to protect or reinstall the filtration system?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | N/a |  |  | | | |