## Ferguson Parts
Item # | Description 952 Round Rock FSU 2 Ice makers | Quantity | Net Price | UM | #NUM!
COPPER 2"
CCAPP* | 4 WROT COP CAP 4-1/8 OD | 0 | 53.05 | EA | 0
CCAPM* | 3 WROT COP CAP 3-1/8 OD | 0 | 28.12 | EA | 0
CCAPL* | 2 1/2 WROT COP CAP 2-5/8 OD | 0 | 20.52 | EA | 0
C9K* | 2 WROT CXC 90 ELL 2-1/8 OD | 0 | 13.1 | EA | 0
CS9K | 2 WROT FTGXC ST 90 ELL | 0 | 20.06 | EA | 0
C4K | 2 WROT CXC 45 ELL 2-1/8 OD | 0 | 12.16 | EA | 0
CS4K | 2 WROT FTGXC ST 45 ELL | 0 | 14.45 | EA | 0
CCK* | 2 WROT CXC COUP 2-1/8 OD | 0 | 6.59 | EA | 0
CCAPK* | 2 WROT COP CAP 2-1/8 OD | 0 | 6.43 | EA | 0
CTK* | 2 WROT CXCXC TEE 2-1/8 OD | 0 | 23.15 | EA | 0
CMAK | 2 WROT CXM ADPT | 0 | 14.45 | EA | 0
CFAK | 2 WROT CXF ADPT | 0 | 18.15 | EA | 0
CRCKJ | 2X1-1/2 WROT CXC RED COUP | 0 | 9.95 | EA | 0
CRCKH | 2X1-1/4 WROT CXC RED COUP | 0 | 9.95 | EA | 0
CRCKG | 2X1 WROT CXC RED COUP | 0 | 10.49 | EA | 0
CRCKF | 2X3/4 WROT CXC RED COUP | 0 | 10.69 | EA | 0
CRCKD | 2X1/2 WROT CXC RED COUP | 0 | 11.13 | EA | 0
CFRKJ | 2X1-1/2 WROT FTGXC RED | 0 | 10.41 | EA | 0
CFRKH | 2X1-1/4 WROT FTGXC RED | 0 | 10.41 | EA | 0
CFRKG | 2X1 WROT FTGXC RED | 0 | 10.97 | EA | 0
CFRKF | 2X3/4 WROT FTGXC RED | 0 | 10.97 | EA | 0
CFRKD | 2X1/2 WROT FTGXC RED | 0 | 11.64 | EA | 0
CTKKJ* | 2X2X1-1/2 WROT CXCXC TEE | 0 | 18.03 | EA | 0
| COPPER 1 1/2" |  |  |  | 0
C9J* | 1-1/2 WROT CXC 90 ELL 1-5/8 OD | 0 | 9.48 | EA | 0
CS9J | 1-1/2 WROT FTGXC ST 90 ELL | 0 | 12.14 | EA | 0
C4J | 1-1/2 WROT CXC 45 ELL 1-5/8 OD | 0 | 7.28 | EA | 0
CS4J | 1-1/2 WROT FTGXC ST 45 ELL | 0 | 9.1 | EA | 0
CSCJ | 1-1/2 WROT CXC SLIP COUP | 0 | 4.96 | EA | 0
CCJ* | 1-1/2 WROT CXC COUP W/ STOP | 0 | 3.94 | EA | 0
CCAPJ* | 1-1/2 WROT COP CAP 1-5/8 OD | 0 | 3.48 | EA | 0
CTJ* | 1-1/2 WROT CXCXC TEE 1-5/8 OD | 0 | 14.85 | EA | 0
CMAJ | 1-1/2 WROT CXM ADPT | 0 | 8.54 | EA | 0
CFAJ | 1-1/2 WROT CXF ADPT | 0 | 13.36 | EA | 0
CRCJH | 1-1/2X1-1/4 WROT CXC RED COUP | 0 | 6.43 | EA | 0
CRCJG | 1-1/2X1 WROT CXC RED COUP | 0 | 6.43 | EA | 0
CRCJF | 1-1/2X3/4 WROT CXC RED COUP | 0 | 6.43 | EA | 0
CRCJD | 1-1/2X1/2 WROT CXC RED COUP | 0 | 6.83 | EA | 0
CFRJH | 1-1/2X1-1/4 WROT FTGXC RED | 0 | 5.53 | EA | 0
CFRJG | 1-1/2X1 WROT FTGXC RED | 0 | 5.53 | EA | 0
CFRJF | 1-1/2X3/4 WROT FTGXC RED | 0 | 5.53 | EA | 0
CFRJD | 1-1/2X1/2 WROT FTGXC RED | 0 | 5.53 | EA | 0
CTJFJ | 1-1/2X3/4X1-1/2 WROT CXCXC TEE | 0 | 22.17 | EA | 0
CTJJF | 1-1/2X1-1/2X3/4WROT CXCXC TEE | 0 | 11.05 | EA | 0
CTJJD | 1-1/2X1-1/2X1/2WROT CXCXC TEE | 0 | 11.05 | EA | 0
CTJJS | 1-1/2X1-1/2X3/4WROT CXCXC TEE | 0 | 11.05 | EA | 0
CFFAJ | 1-1/2 WROT FTG X FIP ADPT | 0 | 17.96 | EA | 0
CUJ | 1-1/2 WROT CXC UNION | 0 | 27.89 | EA | 0
| COPPER 1 1/4" |  |  |  | 0
C9H* | 1-1/4 WROT CXC 90 ELL 1-3/8 OD | 0 | 4.61 | EA | 0
CS9H | 1-1/4 WROT FTGXC ST 90 ELL | 0 | 7.03 | EA | 0
C4H | 1-1/4 WROT CXC 45 ELL 1-3/8 OD | 0 | 6.05 | EA | 0
CS4H | 1-1/4 WROT FTGXC ST 45 ELL | 0 | 7.44 | EA | 0
CCH* | 1-1/4 WROT CXC COUP 1-3/8 OD | 0 | 2.98 | EA | 0
CCAPH* | 1-1/4 WROT COP CAP 1-3/8 OD | 0 | 2.39 | EA | 0
CTH* | 1-1/4 WROT CXCXC TEE 1-3/8 OD | 0 | 9.64 | EA | 0
CMAH | 1-1/4 WROT CXM ADPT | 0 | 7.44 | EA | 0
CFAH | 1-1/4 WROT CXF ADPT | 0 | 8.54 | EA | 0
CRCHG | 1-1/4X1 WROT CXC RED COUP | 0 | 3.89 | EA | 0
CRCHF | 1-1/4X3/4 WROT CXC RED COUP | 0 | 3.89 | EA | 0
CRCHD | 1-1/4X1/2 WROT CXC RED COUP | 0 | 4.04 | EA | 0
CFRHG | 1-1/4X1 WROT FTGXC RED | 0 | 4.24 | EA | 0
CFRHF | 1-1/4X3/4 WROT FTGXC RED | 0 | 4.24 | EA | 0
CFRHD | 1-1/4X1/2 WROT FTGXC RED | 0 | 4.24 | EA | 0
| COPPER 1" |  |  |  | 0
C9G* | 1 WROT CXC 90 ELL 1-1/8 OD | 0 | 3.05 | EA | 0
CS9G | 1 WROT FTGXC ST 90 ELL | 0 | 4.63 | EA | 0
C4G | 1 WROT CXC 45 ELL 1-1/8 OD | 0 | 4.47 | EA | 0
CS4G | 1 WROT FTGXC ST 45 ELL 1-1/8 OD | 0 | 5.9 | EA | 0
CCG* | 1 WROT CXC COUP 1-1/8 OD | 0 | 1.68 | EA | 0
CCAPG* | 1 WROT COP CAP 1-1/8 OD | 0 | 1.78 | EA | 0
CTG* | 1 WROT CXCXC TEE 1-1/8 OD | 0 | 7.05 | EA | 0
CMAG | 1 WROT CXM ADPT | 0 | 5.02 | EA | 0
CFAG | 1 WROT CXF ADPT | 0 | 5.84 | EA | 0
CRCGF | 1X3/4 WROT CXC RED COUP | 0 | 2.76 | EA | 0
CRCGD | 1X1/2 WROT CXC RED COUP | 0 | 3.27 | EA | 0
CFRGF | 1X3/4 WROT FTGXC RED | 0 | 2.3 | EA | 0
CTGDD* | 1 X 1/2 X 1/2 WROT CXCXC TEE | 0 | 8.41 | EA | 0
CTGD* | 1 X 3/4 X 1/2 WROT CXCXC TEE | 0 | 8.41 | EA | 0
CTGFF* | 1 X 3/4 X 3/4 WROT CXCXC TEE | 0 | 8.41 | EA | 0
CTGGF* | 1 X 1 X 3/4 WROT CXCXC TEE | 0 | 7.08 | EA | 0
CTHFF* | 1-1/4 X 3/4 X 3/4 WROT CXCXC TEE | 0 | 10.41 | EA | 0
CTHGD* | 1-1/4 X 1 X 1/2 WROT CXCXC TEE | 0 | 13.67 | EA | 0
CTHHD* | 1-1/4 X 1-1/4 X 1/2 WROT CXCXC TEE | 0 | 10.41 | EA | 0
CTGGF* | 1X1X3/4 WROT CXCXC TEE | 0 | 7.08 | EA | 0
CTHHF* | 1-1/4 X 1-1/4 X 3/4 WROT CXCXC TEE | 0 | 10.41 | EA | 0
CTHHG* | 1-1/4 X 1-1/4 X 1 WROT CXCXC TEE | 0 | 10.41 | EA | 0
CTJ | 1-1/2 X WROT CXCXC TEE 1-5/8 OD | 0 | 19.59 | EA | 0
CTJFJ | 1-1/2 X 3/4 X 1/1/2 WROT CXCXC TEE | 0 | 29.23 | EA | 0
CTJGF* | 1-1/2 X 1 X 3/4 WROT CXCXC TEE | 0 | 22.86 | EA | 0
CTJGG* | 1-1/2 X 1 X 1 WROT CXCXC TEE | 0 | 22.17 | EA | 0
CTJGH* | 1-1/2 X 1 X 1-1/4 WROT CXCXC TEE | 0 | 23.54 | EA | 0
CTJHH* | 1-1/2 X 1-1/4 X 1-1/4 WROT CXCXC TEE | 0 | 22.62 | EA | 0
CTJJD* | 1-1/2 X 1-1/2 X 1/2 WROT CXCXC TEE | 0 | 11.05 | EA | 0
CTJJF* | 1-1/2 X 1-1/2 X 3/4 WROT CXCXC TEE | 0 | 14.58 | EA | 0
CTJJG* | 1-1/2 X 1-1/2 X 1 WROT CXCXC TEE | 0 | 11.05 | EA | 0
CTJJH* | 1-1/2 X 1-1/2 X 1-1/4 WROT CXCXC TEE | 0 | 11.05 | EA | 0
CMAJ | 1-1/2 WROT CXM ADPT | 0 | 8.54 | EA | 0
CMAH | 1-1/4 WROT CXM ADPT | 0 | 7.44 | EA | 0
CFRGD | 1X1/2 WROT FTGXC RED | 0 | 3 | EA | 0
| COPPER 3/4" |  |  |  | 0
C9F* | 3/4 WROT CXC 90 ELL 7/8 OD | 0 | 1.24 | EA | 0
CS9F | 3/4 WROT FTGXC ST 90 ELL | 0 | 1.79 | EA | 0
C4F | 3/4 WROT CXC 45 ELL 7/8 OD | 0 | 1.78 | EA | 0
CS4F | 3/4 WROT FTGXC ST 45 ELL 7/8 OD | 0 | 1.79 | EA | 0
CSCF | 3/4 WROT CXM SLIP COUP | 0 | 1.15 | EA | 0
CCF* | 3/4 WROT CXC COUP 7/8 OD | 0 | 0.84 | EA | 0
CCAPF* | 3/4 WROT COP CAP 7/8 OD | 0 | 0.75 | EA | 0
CTF* | 3/4 WROT CXCXC TEE 7/8 OD | 0 | 2.28 | EA | 0
CTFDD* | 3/4 X 1/2 X 1/2 WROT CXCXC TEE | 0 | 2.69 | EA | 0
CTFFD* | 3/4 X 3/4 X 1/2 WROT CXCXC TEE | 0 | 2.19 | EA | 0
CTFFG * | 3/4 X 3/4 X 1 WROT CXCXC TEE | 0 | 7.67 | EA | 0
CMAF | 3/4 WROT CXM ADPT | 0 | 1.95 | EA | 0
CFAF | 3/4 WROT CXF ADPT | 0 | 2.53 | EA | 0
CFFAF | 3/4 WROT FTG X FIP ADPT | 0 | 4.74 | EA | 0
CRCFD | 3/4X1/2 WROT CXC RED COUP | 0 | 1.49 | EA | 0
CFRFD | 3/4X1/2 WROT FTGXC RED | 0 | 1.49 | EA | 0
CTFDF* | 3/4X1/2X3/4 WROT CXCXC TEE | 0 | 2.69 | EA | 0
| COPPER 1/2" |  |  |  | 0
C9D* | 1/2 WROT CXC 90 ELL 5/8 OD | 0 | 0.55 | EA | 0
CS9D | 1/2 WROT FTGXC ST 90 ELL | 0 | 0.85 | EA | 0
C4D | 1/2 WROT CXC 45 ELL 5/8 OD | 0 | 1.01 | EA | 0
CS4D | 1/2 WROT FTGXC ST 45 ELL 5/8 OD | 0 | 1.22 | EA | 0
CCD* | 1/2 WROT CXC COUP 5/8 OD | 0 | 0.42 | EA | 0
CMAD | 1/2 WROT CXM ADPT | 0 | 1.16 | EA | 0
CFAD | 1/2 WROT CXF ADPT | 0 | 1.84 | EA | 0
CTD* | 1/2 WROT CXCXC TEE 5/8 OD | 0 | 0.95 | EA | 0
CCAPD | 1/2 WROT COP CAP 5/8 OD | 0 | 0.4 | EA | 0
| COPPER 1/4" |  |  |  | 0
CS9B | 1/4 WROT FTGXC ST 90 ELL | 0 | 3.06 |  | 0
| COPPER PIPE |  |  |  | 0
LHARDK10 | 2 X 10 L HARD COP TUBE (Our Price is per foot) | 0 | 16.8 | C | 0
LHARDJ10 | 1-1/2 X 10 L HARD COP TUBE (Our Price is per foot) | 0 | 10.72 | C | 0
LHARDH10 | 1-1/4 X 10 L HARD COP TUBE (Our Price is per foot) | 0 | 8.3 | C | 0
LHARDG10 | 1 X 10 L HARD COP TUBE (Our Price is per foot) | 0 | 6.34 | C | 0
LHARDF10 | 3/4 X 10 L HARD COP TUBE (Our Price is per foot) | 0 | 4.35 | C | 0
LHARDD10 | 1/2 X 10 L HARD COP TUBE (Our Price is per foot) | 0 | 2.77 | C | 0
| CPVC 2" |  |  |  | 0
CP9K* | 2 CPVC CTS 90 ELL | 0 | 8.26 | EA | 0
CP4K | 2 CPVC CTS 45 ELL | 0 | 8.37 | EA | 0
CPCK* | 2 CPVC CTS COUP | 0 | 4.24 | EA | 0
CPCAPK* | 2 CPVC CTS CAP | 0 | 3.99 | EA | 0
CPTK* | 2 CPVC CTS TEE | 0 | 10.15 | EA | 0
CPFABTK* | 2 CPVC CTS FEM ADPT BRS THRD | 0 | 54.89 | EA | 0
CPMABTK* | 2 CPVC CTS MALE ADPT BRS THRD | 0 | 56.38 | EA | 0
PFCBVK* | 2 CTS SXS CPVC BV | 0 | 26.71 | EA | 0
CPBKJ | 2X1-1/2 CPVC CTS BUSH | 0 | 3.44 | EA | 0
CPBKH | 2X1-1/4 CPVC CTS BUSH | 0 | 3.44 | EA | 0
CPBKG | 2X1 CPVC CTS BUSH | 0 | 3.44 | EA | 0
CPBKF | 2X3/4 CPVC CTS BUSH | 0 | 3.44 | EA | 0
CPBKD | 2X1/2 CPVC CTS BUSH | 0 | 3.44 | EA | 0
| CPVC 1 1/2" |  |  |  | 0
CP9J* | 1-1/2 CPVC CTS 90 ELL | 0 | 4.31 | EA | 0
CP4J | 1-1/2 CPVC CTS 45 ELL | 0 | 4 | EA | 0
CPCJ* | 1-1/2 CPVC CTS COUP | 0 | 2.09 | EA | 0
CPCAPJ* | 1-1/2 CPVC CTS CAP | 0 | 1.98 | EA | 0
CPTJ* | 1-1/2 CPVC CTS TEE | 0 | 6.28 | EA | 0
CPMABTJ* | 1-1/2 CPVC CTS MALE ADPT BRS THRD | 0 | 40.56 | EA | 0
CPFABTJ* | 1-1/2 CPVC CTS FEM ADPT BRS THRD | 0 | 39.44 | EA | 0
PFCBVJ* | 1-1/2 CTS SXS CPVC BV | 0 | 21.05 | EA | 0
CPBJH | 1-1/2X1-1/4 CPVC CTS BUSH | 0 | 1.53 | EA | 0
CPBJG | 1-1/2X1 CPVC CTS BUSH | 0 | 1.53 | EA | 0
CPBJF | 1-1/2X3/4 CPVC CTS BUSH | 0 | 1.45 | EA | 0
CPBJD | 1-1/2X1/2 CPVC CTS BUSH | 0 | 1.45 | EA | 0
| CPVC 1 1/4" |  |  |  | 0
CP9H* | 1-1/4 CPVC CTS 90 ELL | 0 | 2.39 | EA | 0
CP4H | 1-1/4 CPVC CTS 45 ELL | 0 | 2.76 | EA | 0
CPCH* | 1-1/4 CPVC CTS COUP | 0 | 1.48 | EA | 0
CPCAPH* | 1-1/4 CPVC CTS CAP | 0 | 1.25 | EA | 0
CPTH* | 1-1/4 CPVC CTS TEE | 0 | 4.82 | EA | 0
CPMABTH* | 1-1/4 CPVC CTS MALE ADPT BRS THRD | 0 | 27.2 | EA | 0
CPFABTH* | 1-1/4 CPVC CTS FEM ADPT BRS THRD | 0 | 26.46 | EA | 0
PFCBVH | 1-1/4 CPVC CTS SXS CPVC BV EPDM | 0 | 14.57 | EA | 0
CPBHG | 1-1/4X1 CPVC CTS BUSH | 0 | 1.08 | EA | 0
CPBHF | 1-1/4X3/4 CPVC CTS BUSH | 0 | 1.23 | EA | 0
CPBHD | 1-1/4X1/2 CPVC CTS BUSH | 0 | 1.23 | EA | 0
| CPVC 1" |  |  |  | 0
CP9G* | 1 CPVC CTS 90 ELL | 0 | 1.46 | EA | 0
CPS9G | 1 CPVC CTS ST 90 ELL | 0 | 1.97 | EA | 0
CP4G | 1 CPVC CTS 45 ELL | 0 | 1.39 | EA | 0
CPS4G | 1 CPVC CTS ST 45 ELL | 0 | 2.42 | EA | 0
CPCG* | 1 CPVC CTS COUP | 0 | 1.22 | EA | 0
CPTG* | 1 CPVC CTS TEE | 0 | 3.14 | EA | 0
CPBGF | 1X3/4 CPVC CTS BUSH | 0 | 0.95 | EA | 0
CPBGD | 1X1/2 CPVC CTS BUSH | 0 | 0.95 | EA | 0
CPMABTG* | 1 CPVC CTS MALE ADPT BRS THRD | 0 | 9.86 | EA | 0
CPFABTG* | 1 CPVC CTS FEM ADPT BRS THRD | 0 | 9.66 | EA | 0
PFCBVG | 1 CTS SXS CPVC BV | 0 | 6.39 | EA | 0
| CPVC 3/4" |  |  |  | 0
CP9F* | 3/4 CPVC CTS 90 ELL | 12 | 0.57 | EA | 6.84
CPS9F* | 3/4 CPVC CTS ST 90 ELL | 4 | 0.66 | EA | 2.64
CP4F | 3/4 CPVC CTS 45 ELL | 0 | 0.67 | EA | 0
CPS4F | 3/4 CPVC CTS ST 45 ELL | 0 | 0.84 | EA | 0
CPCF* | 3/4 CPVC CTS COUP | 2 | 0.39 | EA | 0.78
CPTF* | 3/4 CPVC CTS TEE | 0 | 0.86 | EA | 0
CPCAPF* | 3/4 CPVC CTS CAP | 0 | 0.41 | EA | 0
CPBFD* | 3/4X1/2 CPVC CTS BUSH | 1 | 0.42 | EA | 0.42
CPMABTF* | 3/4 CPVC CTS MALE ADPT BRS THRD | 2 | 6.42 | EA | 12.84
CPFABTF* | 3/4 CPVC CTS FEM ADPT BRS THRD | 0 | 5.54 | EA | 0
PFCBVF* | 3/4 CPVC CTS SXS BV EPDM | 0 | 5.51 | EA | 0
CPSTRF* | 3/4 CPVC STRP | 10 | 0.47 | EA | 4.7
CPTFFD* | 3/4X 3/4X 1/2 CPVC CTS TEE | 0 | 0.75 | EA | 0
CPTFDF* | 3/4 X 1/2 X 3/4 CPVC CTS TEE | 0 | 0.75 | EA | 0
CPTFDD* | 3/4 X 1/2 X 1/2 CPVC CTS TEE | 0 | 0.75 | EA | 0
CPUF | 0806 3/4 CTS CPVC SXS UNION | 0 | 3.82 | EA | 0
KCU0750S | 3/4 CPVC SXS UNION | 0 | 4.68 | EA | 0
| CPVC 1/2" |  |  |  | 0
CP9D* | 1/2 CPVC CTS 90 ELL | 0 | 0.36 | EA | 0
CPS9D* | 1/2 CPVC CTS ST 90 ELL | 0 | 0.42 | EA | 0
CP4D | 1/2 CPVC CTS 45 ELL | 0 | 0.39 | EA | 0
CPS4D | 1/2 CPVC CTS ST 45 ELL | 0 | 0.63 | EA | 0
CPCD* | 1/2 CPVC CTS COUP | 0 | 0.25 | EA | 0
CPCAPD* | 1/2 CPVC CTS CAP | 0 | 0.29 | EA | 0
CPMABTD* | 1/2 CPVC CTS MALE ADPT BRS THRD | 0 | 4.4 | EA | 0
CPFABTD | 1/2 CPVC CTS FEM ADPT BRS THRD | 0 | 4.85 | EA | 0
PFCBVD* | 1/2 CPVC CTS SXS BV EPDM | 0 | 4.69 | EA | 0
BG2PR14C | 1/2 NOM CPVC X 3/8 CP STRT ST | 0 | 5.64
BPR19C | 1/2 CPVC X 3/8 COMP ANGLE STOP | 0 | 5.21 | EA | 0
CPSTRD* | 1/2 CPVC STRP | 4 | 0.52 | EA | 2.08
CPTD* | 1/2 CPVC CTS TEE | 0 | 0.46 | EA | 0
CPTDDF* | 1/2 X 1/2 X 3/4 CPVC CTS RED TEE | 0 | 1.04 | EA | 0
| ************************** |  |  |  | 0
| CPVC PIPE |  |  |  | 0
| ************************** |  |  |  | 0
CPFGPD10* | 1/2X10 CPVC FLOWGUARD GOLD PIPE (Our Price is per foot) | 0 | 0.32 | C | 0
CPFGPF10* | 3/4X10 CPVC FLOWGUARD GOLD PIPE (Our Price is per foot) | 20 | 0.51 | C | 10.2
CPFGPG10 | 1X10 CPVC FLOWGUARD GOLD PIPE (Our Price is per foot) | 0 | 1.39 | C | 0
CPFGPH10 | 1-1/4X10 CPVC FLOWGUARD GOLD PIPE (Our Price is per foot) | 0 | 2.21 | C | 0
CPFGPJ10 | 1-1/2X10 CPVC FLOWGUARD GOLD PIPE (Our Price is per foot) | 0 | 3.04 | C | 0
CPFGPK10 | 2X10 CPVC FLOWGUARD GOLD PIPE (Our Price is per foot) | 0 | 5.54 | C | 0
| BRASS |  |  |  | 0
IBRBFD | 3/4X1/2 BRS BUSH | 0 | 2.97 | EA | 2.97
IBRS9D | 1/2 BRS ST 90 ELL | 0 | 3.67 | EA | 0
W530CD* | 1/2 Inch CALIBRATED PRES REL VLV ( Brass Snubber) | 0 | 41.5 | EA | 0
NT58570K | 2 BRZ 600# 2PC FP IPS BV | 0 | 106.09 | EA | 0
NS58570K | 2 BRZ 600# 2PC FP SWT BV | 0 | 106.09 | EA | 0
NT58570J | 1-1/2 BRZ 600# 2PC FP IPS BV | 0 | 61.8 | EA | 0
NS58570J | 1-1/2 BRZ 600# 2PC FP SWT BV | 0 | 61.8 | EA | 0
NT58570H | 1-1/4 BRZ 600# 2PC FP IPS BV | 0 | 46.87 | EA | 0
NS58570H | 1-1/4 BRZ 600# 2PC FP SWT BV | 0 | 46.87 | EA | 0
NT58570G | 1 BRZ 600# 2PC FP IPS BV | 0 | 19.83 | EA | 0
NS58570G | 1 BRZ 600# 2PC FP SWT BV | 0 | 19.83 | EA | 0
CTCAPG* | 1 BRS TUBE CAP TECTITE | 0 | 12.95 | EA | 0
CT9G* | 1 BRS CXC 90 ELL TECTITE | 0 | 13.94 | EA | 0
CTFAF* | 3/4 BRS CXF ADPT TECTITE | 0 | 4.76 | EA | 0
CTFAG* | 1 BRS CXF ADPT TECTITE | 0 | 10.2 | EA | 0
CTCG* | 1 BRS CXC COUP W/ST TECTITE | 0 | 13.6 | EA | 0
NS58570F* | 3/4 BRZ 600# 2PC FP SWT BV | 0 | 15.71 | EA | 0
NT58570F | 3/4 BRZ 600# 2PC FP IPS BV | 0 | 16.02 | EA | 0
NT58570D | 1/2 BRZ 600# 2PC FP IPS BV | 0 | 9.86 | EA | 0
NS58570D | 1/2 BRZ 600# 2PC FP SWT BV | 0 | 9.68 | EA | 0
NT580G | 1 BRZ 400# WOG 2 PC IPS RP BV | 0 | 12.38 | EA | 0
W25AUBZ3K | 2 THRD WTR PRES REG | 0 | 733.17 | EA | 0
W25AUBZ3J* | 1-1/2 THRD WTR PRES REG | 0 | 275.34 | EA | 0
W25AUBZ3H | 1-1/4 THRD WTR PRES REG | 0 | 207.54 | EA | 0
W25AUBZ3G | 1 THRD WTR PRES REG | 0 | 118.36 | EA | 0
W25AUBZ3F | 3/4 THRD WTR PRES REG | 0 | 67.97 | EA | 0
W25AUBZ3D | 1/2 THRD WTR PRES REG | 0 | 66.47 | EA | 0
W25AUBZ3 | THREADDED PRESSURE WATER REG | 0 | 163.92 | EA | 0
B87 | AIR VLV | 0 | 62.79 | EA | 0
SP-B113023 | B&G OVERFLOW FOR B87 | 0 | 4.5 | EA | 0
WSC6F | 3/4 MIP HOSE BIBB HEX W/ T-HDL | 0 | 5.38 | EA | 0
W8BF | 3/4 HOSE CONN VB | 0 | 7.35 | EA | 0
PFMBRHBDD | 1/2 ID X 1/2 MIP BRS HOSE BARB | 0 | 2.38 | EA | 0
W7U22D | 1/2 FPT DUAL CHECK | 0 | 44.09 | EA | 0
W9DM2F | 3/4 DUAL CHK W/ ATMOS VENT BFP | 0 | 139.45 | EA | 0
NS480G | 1 BRZ SWT VERT CHK VLV | 0 | 25.12 | EA | 0
NS480J | 1-1/2 BRZ SWT VERT CHK VLV | 0 | 40.87 | EA | 0
NS480H | 1-1/4 BRZ SWT VERT CHK VLV | 0 | 31.28 | EA | 0
NT480G* | 1 BRZ IPS VERT CHK VLV | 0 | 24.66 | EA | 0
NT480J* | 1-1/2 BRZ IPS VERT CHK VLV | 0 | 52.35 | EA | 0
NT480H | 1-1/4 BRZ IPS VERT CHK VLV | 0 | 30.7 | EA | 0
NT480G* | 1 BRZ IPS VERT CHK VLV | 0 | 24.66 | EA | 0
NT480F* | 3/4 BRZ IPS VERT CHK VLV | 0 | 17.96 | EA | 0
CTCF* | 3/4 BRS CXC COUP W/ST TECTITE | 0 | 8.14 | EA | 0
CTCAPF* | 3/4 BRS TUBE CAP TECTITE | 0 | 6.12 | EA | 0
CT9F* | 3/4 BRS CXC 90 ELL TECTITE | 0 | 7.36 | EA | 0
CTFAF* | 3/4 BRS CXF ADPT TECTITE | 0 | 4.77 | EA | 0
PFB509G (FNW) | 1 BRZ 150# Third 20 Mesh Y Strn (WYE STRN) | 0 | 34.65 | EA | 0
W777M1J | 1-1/2 BRZ 250# IPS WYE STRN | 0 | 187.29 | EA | 0
WS777SIJ | 1-1/2 BRZ 250# SWT WYE STRN | 0 | 89.11 | EA | 0
W777SIJ* | 1 1/2 BRZ 400 # IPS WYE STRN | 0 | 89.11 | EA | 0
W4341511 | 1/4 NPT PRES SNUBBER | 0 | 4.02 | EA | 0
W530CD* | 1/2 CALIBRATED PRES REL VLV | 0 | 41.5 | EA | 0
WSC6F | 3/4 MIP HOSE BIBB HEX W/ T-HDL | 0 | 5.38 | EA | 0
W9DM2F | 3/4 DUAL CHK W/ ATMOS VENT BFP | 0 | 139.45 | EA | 0
IBRS9D* | 1/2 BRS ST 90 ELL | 0 | 5.11 | EA | 0
CTFAD* | 1/2 BRS CXF ADT TECTITE | 0 | 4.33 | EA | 0
CTCD* | 1/2 BRS CXC COUP W/ ST TECTITE | 0 | 5.82 | EA | 0
CTCAPD* | 1/2 BRS TUBE CAP TECTITE | 0 | 4.88 | EA | 0
PFMBRHBDF | 1/2 ID X 3/4 MIP BRS HOSE BARB | 0 | 3.64 | EA | 0
IBR9B | 1/4 BRS 90 ELL | 0 | 2.71 | EA | 0
BRNBJ | 1/4X1-1/2 BRS NIP | 0 | 2.16 | EA | 0
BRNHM | 1-1/4X3 BRS NIP | 0 | 12.62 | EA | 0
W4266138 | 910.11 1/4 BRS NDL VLV | 0 | 12.93 | EA | 0
W7352 | 1/4 BRS NEEDLE VLV | 0 | 7.26 | EA | 0
BRNHCL* | 1 1/4XCLOSE BRS NIP | 0 | 8.26 | EA | 0
BRNDCL* | 1/2XCLOSE BRS NIP | 0 | 2.58 | EA | 0
BRNFCL* | 3/4XCLOSE BRS NIP | 0 | 3.71 | EA | 0
BRNGCL* | 1XCLOSE BRS NIP | 0 | 5.47 | EA | 0
| SHARKBITES |  |  |  | 0
| 3/4 FIP X Shark Bite | 3 | 5.68 | EA | 17.04
| 1/2 FIP X Sharkbite | 0 | 5.17 | EA | 0
CT9F | 3/4 BRS CXC 90 EKK TECTITE | 0 | 7.34 | EA | 0
CTTF | 3/4 BRS CXCXC TEE TECTITE | 0 | 9.86 | EA | 0
CTCF | 3/4 BRS CXC COUP W/ St TECTITE | 0 | 6.63 | EA | 0
CTMAF | 3/4 BRS CXM ADPT TECTITE | 0 | 4.76 | EA | 0
CTCAPF | 3/4 BRS TUBE CAP TECTITE | 0 | 6.1 | EA | 0
CTTFFD | 3/4X3/4X1/2 BRS CXCXC TEE TECTITE | 0 | 9.46 | EA | 0
CTRCFD | 3/4X1/2 BRS CXC COUP TECTITE | 0 | 6.34 | EA | 0
CT9D | 1/2 BRS CXC 90 ELL TECTITE | 0 | 6.1 | EA | 0
CTTD | 12 BRS CXCXC TEE TECTITE | 0 | 8.28 | EA | 0
CTCD | 1/2 BRS CXC COUP W/ ST TECTITE | 0 | 5.82 | EA | 0
CTMAD | 1/2 BRS CXM ADPT TECTITE | 0 | 4.26 | EA | 0
CTCAPD | 1/2 BRS TUBE CAP TECTITE | 1 | 4.86 | EA | 0
CTCG | 1 BRS CXC COUP W/ ST TECTITE | 0 | 13.6 | EA | 0
CTTG | 1 BRS CXCXC TEE TECTITE | 0 | 16.9 | EA | 0
CT9G | 1 BRS CXC 90 ELL TECTITE | 0 | 13.94 | EA | 0
CTTGGF | 1X1X3/4 BRS CXCXCX TEE TECTITE | 0 | 17.24 | EA | 0
CTTG | 1 BRS CXCXC TEE TECTITE | 0 | 16.9 | EA | 0
CTRCGF | 1X3/4 BRS CXC COUP TECTITE | 0 | 15.7 | EA | 0
CTFAD | 1/2 BRS CXF ADPT TECTITE | 0 | 4.33 | EA | 0
CTFAF | 3/4 BRS CXC AD[T TECTITE | 0 | 4.76 | EA | 0
CTMAG | 1 BRS CXM ADPT TECTITE | 0 | 10.6 | EA | 0
CU274 | 3/4X1/2 BRS CXF DE 90 ELL TECTITE | 0 | 5.95 | EA | 0
CTFDE9D | 1/2 BRS CXF DE 90 ELL TECTITE | 0 | 5.17 | EA | 0
CTTFDF | 3/4X1/2X3/4 CXC TEE TECTITE | 0 | 9.96 | EA | 0
CTTFDD | 3/4X1/2X1/2 CXC TEE TECTITE | 0 | 9.55 | EA | 0
CTTFFD | 3/4X3/4X1/2 BRS CXCXC TEE TECTITE | 0 | 9.46 | EA | 0
CTCAPG | 1 BRS TUBE CAP TECTITE | 0 | 12.95 | EA | 0
CTRTF | 3/4 REMOVAL TOOL TECTITE | 0 | 0.67 | EA | 0
CU256* | 3/4X3/4 BRZ 90 ELL | 0 | 8.94 | EA | 0
CU370 | 3/4X3/4X3/4 SHARKBITE BRZ TEE | 0 | 15.29 | EA | 0
CU016 | 3/4X3/4 BRZ STRT COUP | 0 | 10.24 | EA | 0
CU134* | 3/4X3/4 BRZ STRT CONN MPT | 0 | 7.15 | EA | 0
CU518 | 3/4 SHARKBITE BRZ END STP | 0 | 9.41 | EA | 0
CU412 | 3/4X3/4X1/2 SHARKBITE BRZ TEE | 0 | 14.59 | EA | 0
CU058 | 3/4X1/2 BRZ STRT COUP | 0 | 9.77 | EA | 0
CU248 | 1/2X1/2 BRZ 90 ELL | 0 | 9.41 | EA | 0
CU362 | 1/2X1/2X1/2 BRZ TEE | 0 | 12.82 | EA | 0
CU008 | 1/2X1/2 BRZ STRT COUP | 0 | 9.05 | EA | 0
CU120 | 1/2X1/2 BRZ STRT CONN MPT | 0 | 6.59 | EA | 0
CU514 | 1/2 SHARKBITE BRZ END STP | 0 | 7.52 | EA | 0
CU020 | 1X1 SHARKBITE STRT COUP | 0 | 16.71 | EA | 0
CU374 | 1X1X1 SHARKBITE TEE | 0 | 18.33 | EA | 0
CU260 | 1X1 SHARKBITE 90 ELL | 0 | 15.08 | EA | 0
CU416 | 1X1X3/4 SHARKBITE TEE | 0 | 18.68 | EA | 0
CU20080000 | 1/2 SHARKBITE CHK VLV | 0 | 14.95 | EA | 0
CU20160000 | 3/4 SHARKBITE CHK VLV | 0 | 17.43 | EA | 0
CU722 | 1/2X1 SHARKBITE TAIL RED | 0 | 4.15 | EA | 0
CU724 | 3/4X1 SHARKBITE TAIL RED | 0 | 10.81 | EA | 0
CU374 | 1X1X1 SHARKBITE TEE | 0 | 18.33 | EA | 0
CU060 | 1X3/4 SHARKBITE RED COUP | 0 | 17.964 | EA | 0
CU072 | 1/2X1/2 BRZ STRT CONN FPT | 0 | 5.069 | EA | 0
CU088 | 3/4X3/4 BRZ STRT CONN FPT | 0 | 5.781 | EA | 0
CU140 | 1X1 SHARKBITE MNPT STRT CONN | 0 | 11.472 | EA | 0
CU274 | 3/4X1/2 BRZ 90 ELL | 0 | 8.537 | EA | 0
CU334 | 1/2X1/2 BRZ DE 90 FPT | 0 | 5.3 | EA | 0
CU444 | 3/4X1/2X3/4 SHARKBITE BRZ TEE | 0 | 9.818 | EA | 0
CU454 | 3/4X1/2X1/2 SHARKBITE BRZ TEE | 0 | 9.115 | EA | 0
CU520 | 1 SHARKBITE BRZ END STP | 0 | 13.011 | EA | 0
CU702 | SHARKBITE SAF SEAL GA | 0 | 25.861 | EA | 0
CU711 | 1/2 SHARKBITE DISC TONG | 0 | 22.13 | EA | 0
CU712 | 3/4 BRZ DEMOUNT CLIP | 0 | 1.476 | EA | 0
CU713 | 3/4 SHARKBITE DISC TONG | 0 | 22.13 | EA | 0
CU714 | 1 SHARKBITE DISC CLIP | 0 | 2.02 | EA | 0
CU715 | 1 SHARKBITE DISC TONG | 0 | 22.13 | EA | 0
| MISCELLANEOUS |  |  |  | 0
FNW7001CD | 1/2 COP PLT SPLT RNG HGR 3/8 | 0 | 1.4 | EA | 0
FNW7001CF | 3/4 COP PLT SPLT RNG HGR 3/8 | 0 | 1.49 | EA | 0
FNW7001CG | 1 COP PLT SPLT RNG HGR 3/8 | 0 | 1.58 | EA | 0
FNW7001CH | 1-1/4 COP PLT SPLT RNG HGR 3/8 | 0 | 1.66 | EA | 0
FNW7001CJ* | 1 1/2 COP PLT SPLT RING HGR 3/8 | 0 | 2.06 | EA | 0
FNW7001CK | 2 COP PLT SPLT RNG HGR 3/8 | 0 | 2.06 | EA | 0
FNW7001PJ* | 1-1/2 BLC SPLT RING HGR 3/8 B | 0 | 2.65 | EA | 0
R31642* | 1/4 2 1/2 QUICK CTTR 152 | 0 | 65.08 | EA | 0
PFF171* | 1/2 IPS F/C PLT CP | 0 | 1.08 | EA | 0
PFE7* | 5/8 OD ESC CP | 0 | 0.18 | EA | 0
BTR* | B-TANK REFILL TRN ED YES NO | 0 | 17.89 | EA | 0
PFTTD520* | 1/2X520 TEF TAPE | 0 | 0.38 | EA | 0
C273968* | HI VOL STL BARL TEST PUMP W/ GA | 0 | 40.01 | EA | 0
PFVB* | 3/4 CB VB | 0 | 3.51 | EA | 0
M3275XL* | BLUE NITR DISBL GLV XLG 100/BX | 0 | 7.52 | EA | 0
REC14030* | SOLD PASTE | 0 | 7.04 | EA | 0
PF188109* | MALE HOSE BIB NO KINK | 0 | 7.66 | EA | 0
PF188101 | 3/4 MIP STUFFING BX BLR DRN | 0 | 7.51 | EA | 0
PF188100 | 1/2 C X MIP X HOSE BLR DRN | 0 | 7.14 | EA | 0
PFCCS66* | 1-1/2 FIPXSWT DIELEC UNION | 0 | 18.24 | EA | 0
PFCCS33* | 3/4 FIPXSWT DIELEC UNION | 0 | 3.83 | EA | 0
PFCCS44* | 1 FIPXSWT DIELEC UNION | 0 | 7.4 | EA | 0
IBRBJH* | 1-1/4X3/4 BRS BUSH | 0 | 9.76 | EA | 0
IBRBJF* | 1-1/2 2X3 BRS BUSH | 0 | 11.94 | EA | 0
IBRBHF* | 1-1/4X3/4 BRS BUSH | 0 | 7.65 | EA | 0
PFE9 | 7/8 OD ESC CP | 0 | 0.18 | EA | 0
IBRBGF* | 1X3/4 BRS BUSH | 0 | 4.49 | EA | 0
IBRBGB* | 1X1/4 BRS BUSH | 0 | 5.45 | EA | 0
IBRBFB | 3/4X1/4 BRS BUSH | 0 | 3.58 | EA | 0
IBRBDB | 1/2X1/4 BRS BUSH | 0 | 2.15 | EA | 0
IBRBFD | 3/4X1/2 BRS BUSH | 0 | 2.97 | EA | 0
IBRBJG* | 1 1/2 X1 BRS BUSH | 0 | 9.76 | EA | 0
IBRTF* | 3/4 BRS TEE | 0 | 6.81 | EA | 0
IBRTG* | 1 BRS TEE | 0 | 12.11 | EA | 0
BRNFK | 3/4X2 BRS NIP | 0 | 4.68 | EA | 0
PFMBRHBDD* | 1/2 ID X 1/2 MIP BRS HOSE BARB | 0 | 2.19 | EA | 0
PFMBRHBCD* | 3/8 ID X 1/2 MIP BRS HOSE BARB | 0 | 3.17 | EA | 0
PFMBRHBFD | 3/4 ID X 1/2 MIP BRS HOSE BARB | 6 | 2.39 | EA | 14.34
BHU21812 | 1/2 MIP X 3/4 FHT BRS HOSE ADPT | 0 | 4.43 | EA | 0
IBR125UG | 1 BRS 125# UNION | 0 | 19.16 | EA | 0
IBR125UJ* | 1-1/2 BRS 125# UNION | 0 | 33.13 | EA | 0
IBR125UH* | 1-1/4 BRS 125# UNION (FIPXFIP) | 0 | 28.07 | EA | 0
CCMUG | 1 CAST CXM UNION (FIPXSWT UNION) | 0 | 45.26 | EA | 0
CCMUJ | 1-1/2 CAST CXM UNION | 0 | 58.97 | EA | 0
CCMUH | 1-1/4 CAST CXM UNION | 0 | 56.12 | EA | 0
FNWCSRHCK | 2 COP PLT SPLT RNG HGR 3/8 | 0 | 2.248 | EA | 0
FNWCSRHCJ | 1-1/2 COP PLT SPLT RNG HGR 3/8 | 0 | 2.248 | EA | 0
FNWCSRHCH | 1-1/4 COP PLT SPLT RNG HGR 3/8 | 0 | 1.81 | EA | 0
FNWCSRHCG | 1 COP PLT SPLT RNG HGR 3/8 | 0 | 1.722 | EA | 0
FNWCSRHCF | 3/4 COP PLT SPLT RNG HGR 3/8 | 0 | 1.625 | EA | 0
FNWCSRHCD | 1/2 COP PLT SPLT RNG HGR 3/8 | 0 | 1.518 | EA | 0
FMW7502CC* | 3/8 COP PLT BT CEIL FLG | 0 | 1.3 | EA | 0
JH83075* | 3/4 COP PIPE HGR | 0 | 0.8 | EA | 0
JH83050 | 1/2 COP PIPE HGR | 0 | 0.79 | EA | 0
JH83100 | 1 COP PIPE HGR | 0 | 0.83 | EA | 0
TB0102 | GLS FILLER | 0 | 133.04 | EA | 0
B113023R | *CVR*N.1/8 X 3 STD RED BRS 25/ (1/4 OVERFLOW CONNECTER) | 0 | 5.26 | EA | 0
FNWWG42 (W4341511) | 1/4 NPT PRES SNUBBER | 0 | 5.37 | EA | 0
RTE | 5/8OD SOFT TUBING (50 Foot Roll 128.07)(Our Price is per Foot) | 0 | 2.56 | EA | 0
RTB | 1/4 OD SOFT TUBE (1/4" SOFT COPPER) (50 FOOT ROL $72.94 OUR PRICE PER FOOT | 0 | 1.46 | EA | 0
PFS20305 | 1-1/2-2 PVC MINI-VENT X PAC | 0 | 20.21 | EA | 0
PFG100K | 2 PRES GA 0-100# | 0 | 4.47 | EA | 0
PFG200K | 2 PRES GA 0-200# | 0 | 5.66 | EA | 0
SP-B113023 | B&G OVERFLOW FOR B87 | 0 | 4.5 | EA | 0
BPR119C | CP 1/2 CPVC X 3/8 COMP ANG ST | 0 | 5.21 | EA | 0
FNW7203PC/FNWBJBCC | 3/8 BLK JR UNIV BEAM CLMP | 0 | 1.25 | EA | 0
W009M3QTF | 3/4" BRZ IPS RPZ BFO W/ BV WATTS BACKFLOW PREVENTOR | 0 | 222.26 | EA | 0
W009M3QTF | 3 4 SS 009M3 QT | 0 | 1421.56 | EA | 0
W9009AGA | 1/4 - 1/2 & 3/4 AIR GAP DRAIN | 0 | 35.09 | EA | 0
PFT5I | 2 GAL THRML EXP TANK | 0 | 38.83 | EA | 0
A7060401* | 3/4 BRZ 400# THRD 3 WAY RP BV | 0 | 25.25 | EA | 0
PSGSHNC* | 3/8 ZNG2 HEX NUT | 0 | 5 | EA | 0
PFSC25* | 25 YD ROLL OF SAND CLO | 0 | 6.75 | EA | 0
CTKJJ* | 2 X 1-1/2 X 1-1/2 WROT CXCXC TEE | 0 | 29.45 | EA | 0
CTKKD* | 2 X 2 X 1/2 WROT CXCXC TEE | 0 | 17.49 | EA | 0
CTKKF* | 2 X 2 X 3/4 WROT CXCXC TEE | 0 | 17.49 | EA | 0
CTKKG* | 2 X 2 X 1 WROT CXCXC TEE | 0 | 18.03 | EA | 0
CTKKH* | 2X2X1-1/4 WROT CXCXC TEE | 0 | 20.02 | EA | 0
CTMAD* | 1/2 BRS CXM ADPT TECTITE | 0 | 4.26 | EA | 0
CTMAG* | 1 BRS CXM ADPT TECTITE | 0 | 10.6 | EA | 0
CTRTD* | 1/2 REMOVAL TOOL TECTITE | 0 | 0.61 | EA | 0
CTRTF* | 3/4 REMOVAL TOOL TECTITE | 0 | 0.67 | EA | 0
CTTD* | 1/2 BRS CXCXC TEE TECTITE | 0 | 8.28 | EA | 0
CTTF* | 3/4 BRS CXCXC TEE TECTITE | 0 | 9.86 | EA | 0
CPMABTTPD* | 1/2 CPVC CTS MALE ADPT BRS THRD | 0 | 4.4 | EA | 0
CPFABTTPD* | 1/2 CPVC CTS FEM ADPT BRS THRD | 0 | 4.8 | EA | 0
NT480D* | 1/2 BRZ IPS VERT CHK VLV | 0 | 14.61 | EA | 0
74.85

## Misc. Parts
Inventory List |  | 952 Round Rock FSU 2 Ice makers
Inventory ID | Name | Description | Unit Price | Quantity Used | Total Cost
B25-.375-6 | Chudnow Mfg./Fittings for Coffee Brewer | 0.375 Tube x 3/8 MFL | 1 | 0 | 0
NP-120 | Chudnow Mfg./Fittings for Coffee Brewer | 3/8 Compression Nut | 0.24 | 0 | 0
Special | Chudnow Mfg./Fittings for Coffee Brewer | 3/8 Compression Sleeve | 0.08 | 0 | 0
B25-.250-6 | Chudnow Mfg./Fittings for Coffee Brewer | .250 Tube x 3/8 MFL | 1 | 0 | 0
NP-120 | Chudnow Mfg./Fittings for Coffee Brewer | 1/4 Compression Nut | 0.2 | 0 | 0
Special | Chudnow Mfg./Fittings for Coffee Brewer | 1/4 Compression Sleeve | 0.06 | 0 | 0
B88-66 | Chudnow Mfg./Fittings for Coffee Brewer | 3/8 FL x 3/8 MIP | 0.55 | 0 | 0
B88-68 | Chudnow Mfg./Fittings for Coffee Brewer | 3/8 FL x 1/2 MIP | 0.715 | 0 | 0
B93-66 | Chudnow Mfg./Fittings for Coffee Brewer | 3/8 MIP x 1/2 MFL Elbow | 1.21 | 0 | 0
B86-68 | Chudnow Mfg./Fittings for Coffee Brewer | 1/2 MIP x 3/8 MFL | 0.92 | 0 | 0
OET170 | Chudnow Mfg./Fittings for Coffee Brewer | S/S Stepless Clamps | 0.18 | 29 | 5.22
S/S Box | Chudnow Mfg./Fittings for Coffee Brewer | S/S Box & Cover | 38 | 0 | 0
| Chudnow Mfg./Fittings for Coffee Brewer | 500 Ft. 3/8" ID Braided Beverage Tubing | 0.28 | 0 | 0
137.50 for the 500 Foot Roll
| Chudnow Mfg./Fittings for Coffee Brewer | S/S Box - Stainless J-Box 3/8" barb x 1/4" Male Flare X 3/8" Male Flare Adaptor | 39.8 | 0 | 0
3228-41222 | Chudnow Mfg./Fittings for Coffee Brewer | 3/8" Black Taste-Rite: Coca-Cola Part # 1070511, Mfg (Eaton) Part# 3228-41222 | 0.6 | 10 | 6
3228-61222 | Chudnow Mfg./Fittings for Coffee Brewer | 1/2" Black Taste-Rite: Coca-Cola Part # 1070512, Mfg (Eaton) Part# 3228-61222 | 0.55 | 20 | 11
113047 | Chic-Fil -A Wharehouse | 3/8" SS Braided Tubing Male | 19.45 | 0 | 0
113046 | Chic-Fil -A Wharehouse | 3/8" SS Braided Tubing Female | 22.23 | 0 | 0
110692 | Chic-Fil -A Wharehouse | 1/4" SS Braided Tubing Male | 12.83 | 0 | 0
110686 | Chic-Fil -A Wharehouse | 1/4" SS Braided Tubing Female | 15.87 | 0 | 0
| SE Pump | Goulds Aquaboost II Presserue Cable | 41 | 0
|  | Goulds Aquaboost II Pressure Sensor 100 | 83 | 0
|  | Goulds Pressure Tank 2 Gallon | 83 | 0
|  | Goulds 1" Tank Tee | 35 | 0
PN 300-392 | Selecto Scientific | Mc Cann's Wall -mt Carbonator Shelf for Gould's Pump | 42 | 0 | 0
16182 | Seton | Box #16 Brass Jack Chain Model 16182 | 1.15 | 0 | 0
16182 | Seton | Price per foot
45671 | Seton | Plbg Tag Lettered A | 4.7 | 0 | 0
| Seton | Plbg Tag Lettered B | 4.7 | 0 | 0
| Seton | Plbg Tag Lettered D | 4.7 | 0 | 0
| Seton | Plbg Tag Lettered E | 4.7 | 0 | 0
| Seton | Plbg Tag Lettered F | 4.7 | 0 | 0
| Seton | Plbg Tag Lettered G | 4.7 | 0 | 0
| Seton | Plbg Tag Lettered H | 4.7 | 0 | 0
| Seton | Plbg F1 | 4.7 | 0 | 0
| Seton | Plbg F2 | 4.7 | 0 | 0
| Seton | Plbg F3 | 4.7 | 0 | 0
| Seton | Plbg F4 | 4.7 | 0 | 0
| Seton | Plbg F5 | 4.7 | 0 | 0
| Seton | Plbg F6 | 4.7 | 0 | 0
| Seton | Plbg F7 | 4.7 | 0 | 0
| Seton | Plbg F8 | 4.7 | 0 | 0
| Seton | Plbg F9 | 4.7 | 0 | 0
| Seton | Plbg F10 | 4.7 | 0 | 0
| Seton | Plbg F11 | 4.7 | 0 | 0
| Seton | Plbg F12 | 4.7 | 0 | 0
| Seton | Plbg F13 | 4.7 | 0 | 0
| Seton | Plbg F14 | 4.7 | 0 | 0
| Seton | Plbg F15 | 4.7 | 0 | 0
| Seton | Plbg F16 | 4.7 | 0 | 0
| Seton | Plbg F17 | 4.7 | 0 | 0
| Seton | Plbg F18 | 4.7 | 0 | 0
| Seton | Plbg F19 | 4.7 | 0 | 0
| Seton | Plbg F20 | 4.7 | 0 | 0
| Seton | Plbg F21 | 4.7 | 0 | 0
| Seton | Plbg F22 | 4.7 | 0 | 0
| Seton | Plbg F23 | 4.7 | 0 | 0
| Seton | Plbg F24 | 4.7 | 0 | 0
| Seton | Plbg F25 | 4.7 | 0 | 0
| Seton | Plbg F26 | 4.7 | 0 | 0
| Seton | Plbg F27 | 4.7 | 0 | 0
| Seton | Plbg F28 | 4.7 | 0 | 0
| Seton | Plbg F29 | 4.7 | 0 | 0
| Seton | Plbg F30 | 4.7 | 0 | 0
| Seton | Plbg F31 | 4.7 | 0 | 0
| Seton | Plbg F32 | 4.7 | 0 | 0
| Seton | Plbg F33 | 4.7 | 0 | 0
68624 | Seton | Valve Chart Frame Model 68624/Aluminum with Plastic Window | 28.5 | 0 | 0
0
0
|  |  |  | 0 | 0
| Sizemore | Gauges with printed faces (inlet & outlet on the gauge)
| Sizemore | Copper Coil-Test Rig W/Bypass Handle
| Sizemore | 1/4 x 1/4 Fitting adapter for coil |  | 0 | 0
| Sizemore | Free-Standing Water Filtration Bypass Handle Assembly with test rig, Includes backplate, (2) 4" Dia. Wika gauges labeled 'Filter inlet pressure 75-85 PSIG" & "Filter outlet Pressure 50-80 PSIG" | 514.16 | 0 | 0
| Strategic Equipment | 18" x 18" Wire Shelf for Goulds Pump |  | 0 | 0
3IMT386 | Strategic Equipment | 1818NC Chrome Wire Shelf |  | 0 | 0
3IMT207 | Strategic Equipment | 13PDF Sigle Tier Post & Brackets |  | 0 | 0
3IMT211 | Strategic Equipment | 1WS118C Single Shelf Support for 18" Shelf |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
| Devore & Johnson | 4" Water Filtration Gauges(Inlets & Outlets) | 15 | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
B05952 | Pot Filler | Wheel Faucet Assemblies(for lemonade and Tea) | 187.33 | 0 | 0
|  |  |  | 0 | 0
| Fast Signs | F16 anodized aluminum-Filtered Water in Bypass | 30 | 0 | 0
| Fast Signs | F16 anodized aluminum-Flush to Drain | 30 | 0 | 0
| Fast Signs | Red Sign-On/Off RO Controller…. | 8.6 | 0 | 0
| Fast Signs | Red Sign-When Alarm Sounds….. | 21.25 | 0 | 0
| Fast Signs | Blue-Filtered Water Faucet | 10 | 0 | 0
TGN3321 | P & S Electric | Electric Disconnect | 30 | 0 | 0
| P & S Electric | Bypass Handle-White Poly Constructin to fitl dual Ball Valve Includes decals | 50 | 0 | 0
| Rick Zeigler | Filtered Water Plates | 11.5 | 0 | 0
| Rick Zeigler | Delivery Pump Disconnect Sign | 8 | 0 | 0
| Rick Zeigler | When Alarm Sounds…….Sign | 20.5 | 0 | 0
| Rick Zeigler | Angle Stop Valves | 100 | 0 | 0
| Kinko's or (Local Printer) | Laminated Valve Tag Ledgends(get originals from Phillip | 1.25 | 0 | 0
|  |  |  | 0 | 0
|  | Info DVD for OPs |  | 0 | 0
|  |  |  | 0 | 0
| Pacific Stainless |  |  | 0 | 0
| Pacific Stainless | Hat Channel 2' X 3' Weld and Clean 14GA S/S | 76.35 | 0 | 0
|  |  |  | 0 | 0
| Ronco | Ronco 93 Gallon Tank - FDA Green Ronco tank w/ standard manway & spinweld fittings | 235.55 | 0 | 0
| Ronco | Ronco 65 Gallon Tank |  | 0 | 0
|  |  |  | 0 | 0
| Classic Installs | RO Drain Pan | 300 | 0 | 0
| Classic Installs | 3/6 Stop Manifold for Carbonators | 150 | 0 | 0
| Classic Installs | RO Panel | 1918 | 0 | 0
| Classic Installs | S/S Stand for water tank | 450 | 0 | 0
| Classic Installs | RO Panel with Grundfos pump | 1457 | 0 | 0
| Georgia Control Center | Horn | 38.56 | 0 | 0
4520 | Salsbury Industries Residential Mailbox | S/S Mail Box 11"W x 14.5"H x 3.5"D (All RO's) | 60 | 0 | 0
| Selecto Scientific | 500145/Selecto 4.5 X 20 Prefilter | 347.85 | 0
| Selecto Scientific | 500146/IM620 |  | 0
| Selecto Scientific | 500147/Selecto Coffee Pro |  | 0
| Selecto Scientific | 500168/Selecto Ice Pro |  | 0
| Selecto Scientific | 50016/Selecto MF620CC |  | 0
| Selecto Scientific | 50167/Selecto IC620 |  | 0
| Selecto Scientific | 500144/Selecto 1C600 | 256.08 | 0
| Selecto Scientific | 500194/Selecto SMF IM614L |  | 2 | 0
| Selecto Scientific | 500191/Selecto Type I Filtration System | 1170 | 1 | 0
| Selecto Scientific | 500192/Selecto Type II Filtration System | 1025.5 | 0 | 0
| Southeast Pumps | 500182/Goulds 1A Pump | 1170 | 0
| Southeast Pumps | 500183/Goulds 2A Pump | 1530 | 0
| Patriot Plumbing | 500193/Meyers Pump | 1737 | 0 | 0
| Patriot Plumbing | 8 stop manifold w/ 9D backflow | 1448 | 0 | 0
| Patriot Plumbing | 500162/New Generation Pump Panel | 2063.7 | 0 | 0
| Premium Soft | PSI 4000
| Grunfos | Grundfos Pump 1HP | 708.8 | 0
|  |  |  | Total | 22.22

## Everpure Equipment
Chick-fil-A Part Number | Everpure Part Number | Description | Kit Price Each | Individual Component Price Each | Order Qty |  | Total
3CHW029(Kit)/500156 | EV311645 | RO Processor with Blend | 3080.5 | 1913.2 | 0 |  | 0
| EV311641 | RO Cartridge Kit - 700 GPD -- To Include: QTY. 2) MR-350 RO Cartridge QTY. 2) 7TO-BW Carbon Cartridge QTY.2) XC Sub-Micron Cartridge |  | 1041.3 | 0 |  | 0
| EV910031 | CB20-124E Single Pre-Filter Housing |  | 126 | 0 |  | 0
3CHW030(Kit)/500155 | EV311646 | RO Processor with Booster Pump & Blend | 3455.5 | 2288.2 | 0 |  | 0
| EV311641 | RO Cartridge Kit - 700 GPD -- To Include: QTY. 2) MR-350 RO Cartridge QTY. 2) 7TO-BW Carbon Cartridge QTY. 2) XC Sub-Micron Cartridge |  | 1041.3 | 0 |  | 0
| EV910031 | CB20-124E Single Pre-Filter Housing |  | 126 | 0 |  | 0
3CHW031(Kit)/500157 | DEV312479 | Tank - 65 Gallon - RONCO | 593.75 | 287.68 | 0 |  | 0
| EV312525 | Tank Kit - 65 Gallon -- To Include: QTY. 1) EV311493 Cable QTY. 1) EV312427 Air Vent QTY. 1) EV312568 Level Control QTY. 0.167) EV910847 CRFC-20BB Cartridge - 6 Pack |  | 306.07 | 0 |  | 0
3CHW023/500141 | EV979590 | E-Series 20" Pre-Filter w/EC-210 Cartridge 2.5 X 20 Prefilter |  | 77 | 0 |  | 0
3CHW024/500148 | EV979845 | SR-X Scale Inhibitor Feeder |  | 116.54 | 0 |  | 0
3CHW017/500142 | DEV998018 | SOFT, SINGL, 7.5K, TC, 115/60, w/Install Kit Tea Softener |  | 556.8 | 0 |  | 0
3CHW034/500160 | DEV998019 | SOFT, CABINET, 15K, TC, 115/60 |  | 627 | 0 |  | 0
3CHW037/500143 | DEV998036 | SOFT, SINGL, 30K, TC, 115/60 |  | 640.2 | 0 |  | 0
3CHW027/500152 | EV998321 | CES-2850M-68 Softener 2 Cubic Ft Softener |  | 1107 | 0 |  | 0
3CHW022/500151 | EV998031 | CES-2850M-102 Softener - 18x40 BT 3 Cubic Foot Softener |  | 1514.88 | 0 |  | 0
EV953426 |  | EC-210 Cartridge 6 PK |  | 5.6 | 0 |  | 0
EV961310 |  | XC(2) Carbon Cartridge 1 PK |  | 56.2 | 0 |  | 0
EV962704 |  | 7TO BW Cartridge 1 PK |  | 55.65 | 0 |  | 0
EV962707 |  | RO Membrane 1 PK |  | 312 | 0 |  | 0
EV979902 |  | Scalestick 10" 12 PK |  | 40 | 0 |  | 0
DEV910847 |  | CFFC20-BB Prefilter 6 PK |  | 104.45 | 0 |  | 0
3CHW038/500153 |  | EVERPURE 2 or 3 foot Softener Install |  |  | 0 |  | 0
3CHW021/500161 |  | EVERPURE Small Softener Install |  |  | 0 |  | 0
3CHW020/500158 |  | RO Install |  |  | 0 |  | 0
3CHW039/500159 |  | RO Install no Softener |  |  | 0 |  | 0
3CUO002/500185 |  | CULLIGAN 8 Cubic foot Softener Install |  |  | 0 |  | 0
|  | Ronco 90 Gallon Tank |  |  | 0 |  | 0
Appleseed Mall Programs
500138 | EV943713 | EVERPURE MALL UPGRADE SYSTEM, HIGH FLOW QUAD- Modified to a 7TO HIGH FLOW CSR W/PF-includes first set of cartridges) | 564 | 282 |  | 0 | 0
| EV962833 | 7 TO QUAD REPL CART KIT-contains (4) 7TO carts,(1) EC210 prefilter, (1) SS-IMF |  | 282 |  | 0 | 0
500139 | EV927241 | QC7I SINGLE HD ONLY | 117.24 | 0 |  | 0 | 0
| EV960705 | 7-TO CARTRIDGE |  | 58.62 |  | 0 | 0
500140 | EV933611 | EVERPURE MALL UPGRADE SYSTEM, HIGH FLOW QUAD HEAD ONLY | 480.76 | 0 |  | 0 | 0
| EV960705 | 7-TO CARTRIDGE |  | 58.62 |  | 0 | 0
| EV979590 | E20 PREFILTER 20" W/EC210 |  | 5.9 |  | 0 | 0
| EV310888 | EC210 CARTRIDGE |  | 5.9 |  | 0 | 0
500141 | EV979590 | EVERPURE PREFILTER, 2.5" DIAM X 20", 10 MICRON 6 GPM, INLET & OUTLET: 3/4" FNPT. | 84.7 | 84.7 |  | 0 | 0
500148 | EV979845 | EVERPURE SR-X FEEDER, 5.16" X 12.44" PHOSPHATE FEEDER WITH CLEAR BOWL FOR ICE MACHINE, INLET & OUTLET: 3/4" FNPT. | 84.7 | 84.7 |  | 0 | 0
0

## Vender Contact
Vendor Name | Customer # | Address | City | State | Zip | Contact | Phone
Chic-Fil-A Wharehouse | 30475 |  |  |  |  | Connie White | 404-765-8936
Chudnow Manufacturing |  | 3055 New Street | Oceanside | New York | 11527 | Rod | 516-593-4222
Culligan | [5 empty] | Shane Van Horn | 317-591-9999
Devore & Johnson | clains |  |  |  |  | Terry Ellis | 404-366-4243
Everpure | [5 empty] | Helen Cruz | 630-307-3037
Ferguson | [5 empty] | Raymond Spoor | 352-338-1604
P & S Electric | [5 empty] | Rick Zeigler | 770-922-6101/Cell 770-527-9898
Selecto Scientific | [5 empty] | Beverly | 800-635-4017 X112
Selecto Scientific | 15009 |  |  |  |  | Gary Nathan | 800-635-4017 X203
SE Pump | [5 empty] | Bryan Glover | 912-495-9527/770-294-2771
Seton | 1485505 |  |  |  |  | Dejana Petrovic | 800-451-7084
Sizemore | [5 empty] | Jackie | 229-344-8049
Strategic Equipment | 49860 |  |  |  |  | Cindy Granahan | 866-324-4253
Salsbury Industries | 110205 | [5 empty] | 323-846-6700