Survey Response for: CFA WF Pre - Survey

Response Time Stamp: 7/25/2012 10:01:34 AM

1. Survey Date

07/25/2012

2. Unit Name:

The waterfront  FSU

3. Unit #

01477

4. Surveyor Name

Jeff Coke

5. What is the water pressure in this unit?

60psi

6. Is there a pump in this unit? - Please select answer from list below.

No - Not existing and not needed

7. What type of pump is installed at this unit?

Na

8. Where is the main shut off located?

In knock out

9. Did you take a photo of the shut off location?

Yes

10. Where is the current water filtration system located?

In knock out

11. Did you take a photo of the current water filtration system?

Yes

12. Does this unit currently have a water softener?

No

13. If existing water softener - did you take a photo?

NA - No softener installed at this unit

14. Current Ice Machine Installed:

Cuber

15. Will we have to remove a shelf in order to install a new system?

Yes

16. Will there be any special equipment needed for tea lines?

None

17. Will there be any special equipment needed for the coffee lines?

None

18. Will we need to install a SWF?

No

19. Are there high ceilings? Please answer yes or no. (describe height if they are high)

No

20. What is the size and type of piping we are tapping into?

3/4" copper

21. If this is a mall, are there doors from the unit leading directly to the outside?

Na

22. Please list the type of equipment to order and install in this unit.

Seleto IM600 (500231, 3SEL044)

Selecto T-1 New Gen Filtration System (500191, 3SEL035)

23. Please state recommended location for new water filtration system.

Above knock out we're shelf is going to be removed

24. Please list any other challenges with new install.

None