7/31/2012       CFA01665        Columbus Commons FSU    John Hincken    12/9/2004       215-271-2313    2204 S Columbus Blvd    Philadelphia    PA      19148-2808      T1, IM600 2A GOULDS WHOLE HOUSE PUMP PANEL INSTALL      CUBER   NO

**Survey Response for:** CFA WF Pre - Survey

**Response Time Stamp:** 7/7/2012 3:38:48 PM

**1. Survey Date**

07/07/2012

**2. Unit Name:**

Columbus commons fsu

**3. Unit #**

01665

**4. Surveyor Name**

Jeff Coke

**5. What is the water pressure in this unit?**

38psi

**6. Is there a pump in this unit? - Please select answer from list below.**

Yes - Not currently in working order

**7. What type of pump is installed at this unit?**

Goulds aquavar

**8. Where is the main shut off located?**

In mechanical room

**9. Did you take a photo of the shut off location?**

Yes

**10. Where is the current water filtration system located?**

In mechanical room

**11. Did you take a photo of the current water filtration system?**

Yes

**12. Does this unit currently have a water softener?**

No

**13. If existing water softener - did you take a photo?**

NA - No softener installed at this unit

**14. Current Ice Machine Installed:**

Cuber

**15. Will we have to remove a shelf in order to install a new system?**

No

**16. Will there be any special equipment needed for tea lines?**

None

**17. Will there be any special equipment needed for the coffee lines?**

None

**18. Will we need to install a SWF?**

No

**19. Are there high ceilings? Please answer yes or no. (describe height if they are high)**

No

**20. What is the size and type of piping we are tapping into?**

1 1/2" copper 3/4" copper

**21. If this is a mall, are there doors from the unit leading directly to the outside?**

Na

**22. Please list the type of equipment to order and install in this unit.**

Seleto IM600 (500231, 3SEL044)

Selecto T-1 New Gen Filtration System (500191, 3SEL035)

Goulds 2A Pump

Other (please specify) Goulds whole house pump panel

**23. Please state recommended location for new water filtration system.**

In mechanical room

**24. Please list any other challenges with new install.**

None