MODELS COVERED:

- High Flow CSR 9300 and 9400 Series Filter Systems

Prefilters

- 20” Pre-filter cartridge – [3M part #: CFS110-C20] – (1 only)

- 10” Pre-filter cartridge – [3M part #: CFS110] – (1 only)

Carbon Filters

- 3M  1 micron cartridge – [3M part #: CFS9112] – (set of 4) (replaces Everpure 7TO, XC and MC cartridges)

Scale Inhibitor

- Scalestick 8” – [3M part #: CFS9005IMF] or 10” – [3M part #: CFS8500S] – (1 only)

Ice Machine Filters (for Cuber machines)

- 20” Pre-filter cartridge – [3M part #: CFS110-C20] – (1 only)

- Scalestick 8” – [3M part #: CFS9005IMF] or 10” – [3M part #: CFS8500S] – (1 only)

Ice Machine Filters (for Cubelet machines)

- Selecto SMF IC620-2 cartridge – [Selecto part #: 108-020] – (set of 2)

- Selecto IC620-2 cartridge – [Selecto part #: 101-300] – (set of 2)

- Selecto SMF IM600 or SMF IM620 cartridge – [Selecto part #: 108-010S] – (1 only)

- Selecto IM620 cartridge – [Selecto part #: 109-S020] – (1 only)

COST ESTIMATE: $350-650 per year for filters. (NOTE: Cost could be less for Units that have smaller water filtration system with fewer cartridges.)

- Billing to Unit (net 30). Payable from R&M Account with 12-month Amortization.

NOTE: Only the 3M CFS9112 cartridges and the Selecto cartridges are designed to last 12 months. All other filters will require more frequent changes.

MAINTENANCE PERFORMED BY: Team Member

MAINTENANCE ADMINISTRATION PERFORMED BY: Strategic Equipment

Contact Information

Strategic Equipment (866) 324-4253 Option #5

Task Description

Order all cartridges from Strategic Equipment.  Install complete array of filter cartridges annually based on anniversary date of the last install. Inspect all filter housings for cracks or failures; sanitize all filter housings and filter bowls; lubricate filter bowl O-rings; replace and flush filter cartridges.

NOTE: If Team Member determines that filter system or beverage system requires additional repairs, cost of this additional work will be a Unit expense.

See also SCOPE OF WORK (attached).

*     *     *     *     *     *

Standards

- All maintenance service should be performed according to Everpure specifications.

- Team Member must leave kitchen/mechanical room free of debris and tools.

- Team Member must dispose of used cartridges.

Steps

NOTE: The following instructions are intended to highlight certain steps in this procedure.  The following page details

- Confirm with Operator or manager that all of the correct cartridges have been delivered from Strategic Equipment.

- Confirm that water pressure to the building is greater than 50 psi. If pressure is less than 50 psi, contact Chick-fil-A Facilities Management & Equipment Support Line (404-765-8998) for further instructions.

- Inspect all filter housings for cracks and leaks, before placing filter system in bypass in preparation for filter replacement.

- Sanitize all filter housings and filter bowls using green KAY-5 sanitizer.

- Lubricate filter bowl O-rings with food grade silicon lubricant.

- Flush all carbon filter cartridges to drain for 4 minutes.

- Close filter system bypass and return system to normal operation.