## Sheet1
Location Open Date | Prototype | Location Number | Location Name | Location Addr1 | Location Addr2 | Location City | Location State | Location Zip | Location Phone | Operator Cell Phone - Primary | Operator Name | Location Type
1979-07-25 | N/A | 00289 | Sunset Mall | 4001 Sunset Drive | 1088 Sunset Mall | San Angelo | TX | 76904 | 325/944-8357 | 325-212-0110 | Tim Odom | Mall Location
1995-06-19 | N/A | 80105 | Angelo State University | 2601 West Ave. North |  | San Angelo | TX | 76909 | 325/944-1888 | 325-212-0110 | Tim Odom | Satellite
Location Number | YTD Total Sales $
289 | 1120492.9
[13 empty] | Manufacturer | Goulds | Goulds | Everpure | Everpure | Everpure | Everpure | Everpure | Everpure | Ranco
[14 empty] | 1AB21 | 2AB22 | EV9980-31 | EV9983-21 | EV9795-90 | EV9100-31 | EV3116-46 | DEV9100-31 | DEV3124-79
[14 empty] | 3SPE001 | 3SPE002 | 3CHW022 | 3CHW027 | 3CHW023 | 3CHW025 | 3CHW030 | 3CHW028 | 3CHW031
Location Num | Location Name | City | State | Open Date | PO Creation Date | Install Date | Water Type | Item Number | PO Item Description | PO Line Quantity | Additional Notes | Project Name | Items in Unit | Goulds 1A Pump | Goulds 2A Pump | Everpure 3 Cu. Ft. Softener | Everpure 2 Cu. Ft. Softener | Everpure 2.5 x 20 Prefilter | EVERPURE 4.5" X 20" PRE-FILTER W/ OPAQUE BOWL | Everpure RO with pump | Everpure RO Post Filter | Ronco 65 Gal Tank
289 | Sunset Mall | San Angelo | TX | 1979-07-25 | 2007-09-26 09:57 |  | 00289, Sunset Mall, San Angelo, TX, Water Filtration | 3CHW023 | EVERPURE PRE-FILTER, #EV9534-26, 2.5" DIAM X 20" 10 MICRON 6 GPM PRE FILTER, INLET & OUTLET: 3/4" FNPT | 2 | Ordered per Phillip Legg for Water Filtration Order #6. Install charges are forthcoming. | Maintenance-Mall-L00289 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
289 | Sunset Mall | San Angelo | TX | 1979-07-25 | 2007-09-26 09:57 |  | 00289, Sunset Mall, San Angelo, TX, Water Filtration | 3CHW027 | EVERPURE MODEL CES-2850M-68, EV 998321, 68,000 GRAIN CAPACITY SOFTENER SYSTEM, RESIN TANK 12"D X 52"H, BRINE TANK 18"D X 40"H, METERED VALVE. | 1 | Ordered per Phillip Legg for Water Filtration Order #6. Install charges are forthcoming. | Maintenance-Mall-L00289 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
289 | Sunset Mall | San Angelo | TX | 1979-07-25 | 2007-09-26 09:57 |  | 00289, Sunset Mall, San Angelo, TX, Water Filtration | 3CHW030 | EVERPURE REV OSMOSIS SYS; #EV311646 MRS 700 REV OSM PROCESSOR W/INTEGRAL BOOSTER PUMP; #EC 20" PRE-FLTR; #EV311641 CARTR KIT (2 EA T&O GC CARB, REV OSM MEMB, & XC CARB BLOCK); #EV910051 CB20-124E GC CARB POST-FLTR & HEPA AIR FLTR, NO TANK. | 1 | Ordered per Phillip Legg for Water Filtration Order #6. Install charges are forthcoming. | Maintenance-Mall-L00289 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
289 | Sunset Mall | San Angelo | TX | 1979-07-25 | 2007-09-26 09:57 |  | 00289, Sunset Mall, San Angelo, TX, Water Filtration | 3CHW031 | EVERPURE/RONCO #DEV312479, 65 GAL. GREEN REVERSE OSMOSIS HOLDING TANK. 17" X 20" X 48", INCLUDES (5) 1/2" FPT SPIN WELD FITTINGS, (2) 3/4" FPT SPIN WELD FITTINGS AND 8" VENTLESS HATCH WITH INTEGRAL FDA GASKET | 1 | Ordered per Phillip Legg for Water Filtration Order #6. Install charges are forthcoming. | Maintenance-Mall-L00289 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
289 | Sunset Mall | San Angelo | TX | 1979-07-25 | 2007-09-26 09:57 |  | 00289, Sunset Mall, San Angelo, TX, Water Filtration | 3SPE001 | GOULDS #1AB21HM1E2D0, FILTERED WATER CIRCUIT PUMP, 1 HP, 3450 RPM, ODP, 4 STAGE, 230/60/1, CONNECTIONS: 1" X 1 1/4", 80 PSI. | 1 | Ordered per Phillip Legg for Water Filtration Order #6. Install charges are forthcoming. | Maintenance-Mall-L00289 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
289 | Sunset Mall | San Angelo | TX | 1979-07-25 | 2007-09-26 09:57 |  | 00289, Sunset Mall, San Angelo, TX, Water Filtration | 3SPE002 | GOULDS #2AB22HM1F2E0CF, WHOLE HOUSE PUMP, 1 1/2 HP, 3450 RPM, ODP, 5 STAGE, 230/60/1, CONNECTIONS: 1" X 1 1/4", 80 PSI. | 1 | Ordered per Phillip Legg for Water Filtration Order #6. Install charges are forthcoming. | Maintenance-Mall-L00289 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
289 | Sunset Mall | San Angelo | TX |  |  | 2008-02-12 | Type 3 | [6 empty] | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1