## Sheet2
592 | East Woodlawn Road FSU | Tami Porter | 75 | BARREL ROOF DESIGN- JASON KNIGHT (GM) WAS CONTACT AT STORE
GATE VALVES FOR MAIN SHUTOFF (IN CLOSET BETWEEN RESTROOMS)
NO PRV WITH STATIC WATER PRESSURE OF 95psi (90psi DYNAMIC)
SELECTO 4.5x20 PREFILTER PLUMBED BACKWARD
NO SINGLE WHEEL FAUCET
TEA BREWER PLUMBED WITH BEVERAGE TUBING
CUBER ICE
SCOPE:
INSTALL T1 SYSTEM (REMOVE ALL EXISTING)- PLUG 3RD CARTRIDGE AND INSTALL SMF IM600 FOR CUBER
INSTALL SINGLE WHEEL FAUCET AND FILTERED WATER FAUCET PLACARD
REPLACE GATE VALVES AT RISER
INSTALL 1.5" PRV SET TO 75psi
REMOVE PREFILTER IN CLOSET
INSTALL NEW SS QUICK-DISCONNECT LINE ON TEA BREWER (FROM EXISTING SERIES 7 CHECK VALVE)