|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **1. Survey Date** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 02/02/2012 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **2. Unit Name:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Capital crossing fsu |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **3. Unit #** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 00868 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **4. Surveyor Name** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Jeff Coke |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **5. What is the water pressure in this unit?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 48 |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **6. Is there a pump in this unit? - Please select answer from list below.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | No - Please order one for this unit |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **7. What type of pump is installed at this unit?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Don't order pump this is a grunfos install |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **8. Where is the main shut off located?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Right of water heater |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **9. Did you take a photo of the shut off location?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Yes |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **10. Where is the current water filtration system located?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Left of water heater and by ice makee |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **11. Did you take a photo of the current water filtration system?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Yes |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **12. Does this unit currently have a water softener?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | No |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **13. If existing water softener - did you take a photo?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | NA - No softener installed at this unit |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **14. Current Ice Machine Installed:** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Cubelet |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **15. Will we have to remove a shelf in order to install a new system?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | No |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **16. Will there be any special equipment needed for tea lines?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 2 new tea hoses |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **17. Will there be any special equipment needed for the coffee lines?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | No |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **18. Will we need to install a SWF?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Yes |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **19. Are there high ceilings? Please answer yes or no. (describe height if they are high)** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | No |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **20. What is the size and type of piping we are tapping into?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | 3/4" copper |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **21. If this is a mall, are there doors from the unit leading directly to the outside?** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Na |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **22. Please list the type of equipment to order and install in this unit.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Selecto T-1 New Gen Filtration System (500191, 3SEL035) |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **23. Please state recommended location for new water filtration system.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | Left of water heater |  |  | | | |
| |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  |  |  | | --- | --- | --- | | |  |  | | --- | --- | |  | **24. Please list any other challenges with new install.** | |  |  |  |  |  |  | | --- | --- | --- | --- | --- | | |  |  |  |  | | --- | --- | --- | --- | |  | None |  |  | | | |