## Sheet2
950 | Carolina Pavilion FSU | Terry Shelton | 100 | BARREL ROOF DESIGN- BEAUTIFUL
950 | Carolina Pavilion FSU | Terry Shelton | 100 | 45psi STATIC WATER PRESSURE
950 | Carolina Pavilion FSU | Terry Shelton | 100 | CUBELET ICE WITH SMF IC620-2 & IM600
950 | Carolina Pavilion FSU | Terry Shelton | 100 | MAIN SHUTOFF ABOVE MOP SINK
950 | Carolina Pavilion FSU | Terry Shelton | 100 | UNIDENTIFIED FILTER INSTALLED IN CARB LINE
950 | Carolina Pavilion FSU | Terry Shelton | 100 | TEA BREWER PLUMBED IN CLEAR BEV TUBING
950 | Carolina Pavilion FSU | Terry Shelton | 100
950 | Carolina Pavilion FSU | Terry Shelton | 100 | SCOPE: (MAY GET COMPONENT INSTEAD OF T1)
950 | Carolina Pavilion FSU | Terry Shelton | 100 | INSTALL T1 SYSTEM (REMOVE ALL EXISTING, INCLUDING CUBELET ICE MACHINE FILTRATION)
950 | Carolina Pavilion FSU | Terry Shelton | 100 | **BOOSTER PUMP INSTALL APPROVED BY PHILLIP LEGG**
950 | Carolina Pavilion FSU | Terry Shelton | 100 | INSTALL BOOSTER PUMP SYSTEM
950 | Carolina Pavilion FSU | Terry Shelton | 100 | REMOVE UNIDENTIFIED FILTER ABOVE BIB RACK
950 | Carolina Pavilion FSU | Terry Shelton | 100 | INSTALL SS QUICK-DISCONNECT TEA BREWER LINE (FROM SERIES 7 CHECK VALVE)
950 | Carolina Pavilion FSU | Terry Shelton | 100
950 | Carolina Pavilion FSU | Terry Shelton | 100