**1. Survey Date**

02/01/2012

**2. Unit Name:**

Cobb corners fsu

**3. Unit #**

01355

**4. Surveyor Name**

Jeff Coke

**5. What is the water pressure in this unit?**

40

**6. Is there a pump in this unit? - Please select answer from list below.**

No - Please order one for this unit

**7. What type of pump is installed at this unit?**

Na

**8. Where is the main shut off located?**

In knock out

**9. Did you take a photo of the shut off location?**

Yes

**10. Where is the current water filtration system located?**

In knock out prefilter right of ice maker select filters

**11. Did you take a photo of the current water filtration system?**

Yes

**12. Does this unit currently have a water softener?**

No

**13. If existing water softener - did you take a photo?**

NA - No softener installed at this unit

**14. Current Ice Machine Installed:**

Cubelet

**15. Will we have to remove a shelf in order to install a new system?**

Yes

**16. Will there be any special equipment needed for tea lines?**

New tea hose

**17. Will there be any special equipment needed for the coffee lines?**

Powered by SurveySquare.com Page 1 of 2

No

**18. Will we need to install a SWF?**

Yes

**19. Are there high ceilings? Please answer yes or no. (describe height if they are high)**

No

**20. What is the size and type of piping we are tapping into?**

1 1/2" copper

**21. If this is a mall, are there doors from the unit leading directly to the outside?**

Na

**22. Please list the type of equipment to order and install in this unit.**

Selecto T-1 New Gen Filtration System (500191, 3SEL035)

**23. Please state recommended location for new water filtration system.**

Above knock out

**24. Please list any other challenges with new install.**

None

Copyright © 2011 SurveySquare.com All Rights Reserved.