TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | #1203 | 11/14/08 | 323158 |
| Address: |  | Tested By: |  |
| Eagle Harbor FSU Orange Park, FL |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Unfiltered Water Sample Leaked out | Filtered Water Sample | Recommended Max Levels |
| --- | --- | --- | --- |
| Fluoride, ppm |  | 0.3 | 2 ppm |
| Chloride, ppm |  | 33 | 250 ppm |
| Nitrite, ppm |  | ND | 1 ppm as N |
| Nitrate, ppm |  | ND | 10 ppm as N |
| Sulfate, ppm |  | 15 | 250 ppm |
| Sodium, ppm |  | 31 | 250 ppm |
| Chloramine |  | ND | .5 ppm |
| Chlorine, ppm |  | ND | Detectable |
| Alkalinity, ppm |  | 70 | 150 ppm |
| Total Dissolved Solids, ppm |  | 150 | 500 ppm |
| Hardness, ppm |  | 77 | 100 ppm |
| pH |  | 7.4 | 6.5 – 8.5 ppm |
| Turbidity |  | 0.00 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com