TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | #00302 | 5/2/13 |  |
| Address: |  | Tested By: |  |
|  |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |
| 813-382-1088 |  |  |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Hand Sink | Yellow Ice | Regular Ice | Recommended Max Levels |
| --- | --- | --- | --- | --- |
| Fluoride, ppm | 0.5 | 0.2 | 0.2 | 2 ppm |
| Chloride, ppm | 20 | 56 | 7 | 250 ppm |
| Nitrite, ppm | ND | ND | ND | 1 ppm as N |
| Nitrate, ppm | 1.1 | ND | ND | 10 ppm as N |
| Sulfate, ppm | 8 | 2 | ND | 250 ppm |
| Sodium, ppm | 23 | 65 | ND | 250 ppm |
| Chloramine | 2.40 | ND | ND | .5 ppm |
| Chlorine, ppm | 0.50 | ND | ND | Detectable |
| Alkalinity, ppm | 195 | 380 | 10 | 150 ppm |
| Total Dissolved Solids, ppm | 400 | 450 | 50 | 500 ppm |
| Hardness, ppm | 271 | 322 | 79 | 100 ppm |
| pH | 7.3 | 8.6 | 6.7 | 6.5 – 8.5 ppm |
| Turbidity | 1.02 | 152 | 1.31 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com