TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 2418 | 12/22/08 | 320241 |
| Address: |  | Tested By: |  |
| Wallisville & Beltway 5 Houston, TX |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Unfiltered Water Sample | Bottle unmarked and empty | Recommended Max Levels |
| --- | --- | --- | --- |
| Fluoride, ppm | 0.9 |  | 2 ppm |
| Chloride, ppm | 58 |  | 250 ppm |
| Nitrite, ppm | ND |  | 1 ppm as N |
| Nitrate, ppm | 1.0 |  | 10 ppm as N |
| Sulfate, ppm | 62 |  | 250 ppm |
| Sodium, ppm | 38 |  | 250 ppm |
| Chloramine | ND |  | .5 ppm |
| Chlorine, ppm | ND |  | Detectable |
| Alkalinity, ppm | 125 |  | 150 ppm |
| Total Dissolved Solids, ppm | 250 |  | 500 ppm |
| Hardness, ppm | 113 |  | 100 ppm |
| pH | 6.5 |  | 6.5 – 8.5 ppm |
| Turbidity | 0.00 |  | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com