TECHNICAL SERVICE REPORT

Water Analysis

| Customer: | Location: | Date: | PO#: |
| --- | --- | --- | --- |
| Chick-fil-A | # 1870 | 10/25/07 | 293277 |
| Address: |  | Tested By: |  |
| Sawgrass FSU 12600 W. Sunrise Blvd. Sunrise, FL |  | AR |  |
| Phone: | Email: | Selecto Contact: |  |

| Recommendation: |  |
| --- | --- |

##### ANALYTICAL RESULTS

| Evaluation of: | Home Goods Water Sample | Office Max Water Sample | Recommended Max Levels |
| --- | --- | --- | --- |
| Chloride, ppm | 9.2 | 10 | 250 ppm |
| Sulfate, ppm | ND | ND | 250 ppm |
| Sodium, ppm | 195 | 95 | 250 ppm |
| Chloramine | Detected | Detected | .5 ppm |
| Chlorine, ppm | Detected | Detected | Detectable |
| Alkalinity, ppm | 50 | 45 | 150 ppm |
| Total Dissolved Solids, ppm | 330 | 220 | 500 ppm |
| Hardness, ppm | 75 | 70 | 100 ppm |
| pH | 9.6 | 9.3 | 6.5 – 8.5 ppm |
| Turbidity | 0.00 | 0.00 | .05 NTU |

The information supplied is believed to be accurate and is only indicative of the water tested.  The testing laboratory is not state certified.

3980 Lakefield Court    Suwanee, GA 30024    678.475.0799    800.635.4017

www.selectoinc.com

sales@selectoinc.com